## Slide 1: Prima-databot Talk to your building data
Di Zhang
2025/8/14

## Slide 2
An opportunity but also a problem
  Building data is difficult to use
    Generated at different stages, using different software, in different formats.
Excel, CSV
JSON
PDF
Revit

## Slide 3
  Before developing and deploying AI algorithms, huge efforts are needed to
    Understand the data
    Find the needed information
    Pre-process the data
  Data DOES NOT lead to values unless they are stored, organized, and utilized in automated ways
  Can we make the building data easy to use?
An opportunity but also a problem

## Slide 4
  Uses class-instance format
    T, t, Temp., temperature
  Maps the data to the actual building and system
    Data in the database (server, field, tag, etc.)
    Location in the building and system
Solution: semantic model
  Encodes the relationship between the building and system
    Chiller -> AHU -> VAV box -> thermal zone -> space

## Slide 5
Brick schema: an example

## Slide 6
  Challenges
    Querying a brick model requires SPARQL langugae
Objectives of the study
  Objectives
    Develop a tool that can automatically generate code to query data from Brick model acoording to user input in natural language

## Slide 7
Prima-databot Demo

## Slide 8
System demo

## Slide 9
Demo

## Slide 10
Key research question
  Data query challenge
  Data analysis challenge
    How can the PV site involved in the user problem be identified to call the correct siteID from brick model?
    How to use API to call the time-seires data for the specific siteID within the time period involved in user problem?
    How to make automated data analysis？

## Slide 11
Key research question
  Data query challenge
  Data analysis challenge
    How can the PV site involved in the user problem be identified to call the correct siteID from brick model?
    How to use API to call the time-seires data for the specific siteID within the time period involved in user problem?
    How to make automated data analysis？
User problem: Find the minimum power for the Atrium_Zone_A2_Added_panels between May 10, 2023, and May 15, 2023.

## Slide 12
Key research question
  Data query challenge
  Data analysis challenge
    How can the PV site involved in the user problem be identified to call the correct siteID from brick model?
    How to use API to call the time-seires data for the specific siteID within the time period involved in user problem?
    How to make automated data analysis？
Python + Pandas
User problem: Find the minimum power for the Atrium_Zone_A2_Added_panels between May 10, 2023, and May 15, 2023.
PV site: Atrium_Zone_A2_Added_panels
Time period: 2023-5-10 to 2023-5-15.
SPARQL query
API call

## Slide 13
Key research question
  Data query challenge
  Data analysis challenge
    How can the PV site involved in the user problem be identified to call the correct siteID from brick model?
    How to use API to call the time-seires data for the specific siteID within the time period involved in user problem?
    How to make automated data analysis？
SPARQL query
API call
Python + Pandas
Intent retieving
User problem: Find the minimum power for the Atrium_Zone_A2_Added_panels between May 10, 2023, and May 15, 2023.
PV site: Atrium_Zone_A2_Added_panels
Time period: 2023-5-10 to 2023-5-15.
Scripting

## Slide 14
New insight
  LLM-based agent
  Code-based agent
    LLM could extract PV site and time period from the problem using natural language.
    Make agent gains access to utility functions and make script to slove the task automatically.
User problem: Find the minimum power for the Atrium_Zone_A2_Added_panels between May 10, 2023, and May 15, 2023.
PV site: Atrium_Zone_A2_Added_panels
Time period: 2023-5-10 to 2023-5-15.
Utility functions of query generated by agent: SPARQL + Pandas + API url generation
Intent retieving
Scripting
    LLM could break down the task into primitives.
Planning

## Slide 15
Our approach: Prima-databot
  Key idea
  Design overview
    Tool-augmented LLM agent: Infer utility functions document as Toolkit, so that it can use function to code script while decompositing task.
    Propose a workflow of agent.
    Design a prompt for agent to get access to utility functions and coding.

## Slide 16
Our approach

## Slide 17
Case

## Slide 18
Workflow

## Slide 19
Pipeline

## Slide 20
Experiment
  Dataset generation

## Slide 21
Experiment
  Quantitative evaluation results
Method (model) | Task completion rate
Few-prompting Baseline(GPT-4o-2024-08-06) | 13.29%
Prima-databot(GPT-4o-2024-08-06) | 98.14%

## Slide 22
Our system

## Slide 23
Case

## Slide 24
System workflow

## Slide 25
System demo

## Slide 26
Experiment
  Dataset generation

## Slide 27
Experiment
  Quantitative evaluation results
Dataset group | Method | Task Completion Rate
Single entity（1076） | Baseline (Prima-databot) | 73.70%
 | Method (Multi-agent) | 99.99%
Multi entity（5045） | Baseline (Prima-databot) | 70.86%
 | Method (Multi-agent) | 95.48%